## Sheet
Chip Name | 14 | Test Date | 20191112
Test SW Version | Build 2097
Tested List | Pass/Failure
32k_crystal_freq_vs_vbat_test | Pass
adc_lead_impedance_test | Pass
ant_receive_threshold_test | Pass
ant_receive_turn_off_time_test | Pass
ant_receive_turn_on_time_test | Pass
ant_send_vpp_test | Pass
battery_impedance_test | Pass
battery_load_impedance_test | Pass
ibat_test | Pass
ib_trim_test | Pass
pace_amp_gb_test | Pass
pace_pulse_width_test | Pass
pr_detection_accuracy_test | Pass
rc1p6k_trim_test | Pass
rc32k_trim_test | Pass
sense_ibipt_trim_test | Pass
sense_lpf_hpf_trim_test | Pass
sense_os1_os2_trim_test | Pass
sense_pos_triangle_waveform_threshold_test | Pass
vref_trim_test | Pass
vrega_trim_test | Pass
vrega_vs_load_test | Pass
vrega_vs_vbat_test | Pass
vregd_trim_test | Pass
vregd_vs_load_test | Pass
vregd_vs_vbat_test | Pass
Failure Test Lists | Description | Temperature | Result1 | Result2 | Spec1 | Spec2